**CLEMENTON FIRE MARSHAL’S OFFICE**

***ANNUAL PRIVATE FIRE HYDRANT INSPECTION FORM***

***(Please complete one form per hydrant)***

**NOTE: USE THE TAB BUTTON TO MOVE CURSOR**

Property Name or Address:

Testing Agency Name:

Inspector:

Hydrant Location:

Date:   /  /20

Hydrants accessible  Yes  No

No obvious leaks  Yes  No

No obvious damage  Yes  No

Adequate vehicle protection (parking areas)  Yes  No

Caps are easy to remove  Yes  No

Threads on outlets free of damage and lubricated during inspection  Yes  No

Stem operates smoothly  Yes  No

Hydrant fully opened during inspection  Yes  No

Adequate Flow (visual inspection)  Yes  No

Hydrant adequately drains after closing  Yes  No

**Please explain deficiencies:**

Borough of Clementon

Bureau of Fire Safety

101 Gibbsboro Road

Clementon, NJ 08021

P: 856-783-0284, Ext. 123

F: 856-783-3419